Scope of Works 	Current Floor Plan

Scope of Works 	New Floor Plan

# Material List

|  | Room | Task | Materials | Supplied by trade | Supplied by owner |
| --- | --- | --- | --- | --- | --- |
| CARPENTER | Create two new walls | Create new walls up to the roof line. | Villa Board (not recessed edge) |  |  |
|  |  |  | Architraves |  |  |
|  |  |  | Skirting boards |  |  |
|  |  |  | Cornice beading (quad) |  |  |
|  | Bedroom 1 Internal door | Install new internal door for bedroom 1 | New internal door |  |  |
|  |  |  | Door handle with entrance lock (matching keys for all internal doors) |  |  |
|  |  |  | Hinges |  |  |
|  |  |  | Door Jam set |  |  |
|  | Bedroom 2 Internal door | Install new internal door for bedroom 2 | New internal door |  |  |
|  |  |  | Door handle with entrance lock (matching keys for all internal doors) |  |  |
|  |  |  | Hinges |  |  |
|  | Bedroom 3 Internal door | Install new internal door for bedroom 3 | New internal door |  |  |
|  |  |  | Door handle with entrance lock (matching keys for all internal doors) |  |  |
|  |  |  | Hinges |  |  |
|  |  |  | Door Jam set |  |  |
|  | Bathroom 1 | Replace shower basin with moulded shower. | Fully moulded shower with central soap holder, corner waste outlet. |  |  |
|  |  |  | Shower head (only to be purchased if current fitting insufficient) |  |  |
|  | Bathroom2 | Install new moulded shower in conjunction with plumber | Fully moulded shower with central soap holder, corner waste outlet. |  |  |
|  |  |  | Shower Head |  |  |
|  |  |  | Mixer Tap |  |  |
|  |  |  | Shower curtain |  |  |
|  |  | Construct wall around shower | Villa Board (not depressed edge) |  |  |
|  |  |  | Architraves |  |  |
|  |  |  | Skirting boards |  |  |
|  |  |  | Cornice beading (quad) |  |  |
|  |  | Install external cavity sliding door for access to bathroom 2. | External sliding door |  |  |
|  |  |  | Door handle |  |  |
|  |  |  | Pelmet |  |  |
|  | Back door entrance | Replace back door | External door |  |  |
|  |  |  | Door handle with entrance lock to match internal doors |  |  |
|  |  |  | Hinges |  |  |
|  |  |  | New Door Jams (maybe optional) |  |  |

|  | Room | Task | Materials | Supplied by trade | Supplied by owner |
| --- | --- | --- | --- | --- | --- |
| ELECTRICIAN | Bedroom 1 | Install P1 | Double power point |  |  |
|  |  | Install A1 | Aerial Point |  |  |
|  |  | Install P2 | Double power point |  |  |
|  |  | Install A\C P1 | Single Power Point |  |  |
|  |  | Install/move L1 | Single Light switch (maybe optional as existing fitting can be reused) |  |  |
|  |  |  | Light Fitting (maybe optional as existing fitting can be reused) |  |  |
|  | Bedroom 2 | Install P4 | Double power point |  |  |
|  |  | Install A2 | Aerial Point |  |  |
|  |  | Install P3 | Double power point |  |  |
|  |  | Install P5 | Double power point |  |  |
|  |  | Install A\C P2 | Single Power Point |  |  |
|  |  | Install/move L2 | Single Light switch |  |  |
|  |  |  | Light Fitting |  |  |
|  | Bedroom 3 | Install P7 | Double power point |  |  |
|  |  | Install A3 | Aerial Point |  |  |
|  |  | Install P6 | Double power point |  |  |
|  |  | Install A\C P3 | This is an existing power supply which may need to be moved. |  |  |
|  |  | Install/move L1 See note for bedroom 1 | Single Light switch (maybe optional as existing fitting can be reused) |  |  |
|  |  |  | Light Fitting (maybe optional as existing fitting can be reused) |  |  |
|  | Lounge | Install P8 | Double power point |  |  |
|  |  | Install A2 | Aerial Point |  |  |
|  |  | Install A\C P4 | This is an existing power supply which may need to be moved. |  |  |
|  | Bathroom 2 | Install P9 | Double power point |  |  |
|  |  | Install/move L4 Existing floor plan has a light fitting in this room which may need to be moved. | Single Light switch |  |  |
|  |  |  | Install light fittings in roof (where required) |  |  |
|  | External Back Door Sensor lights | Move SS1 | Existing light switch available |  |  |
|  |  | Upgrade S1 | Single globe sensor light. |  |  |
|  | External Front Door Sensor lights | Check SS2 | Existing light switch available |  |  |
|  |  | Upgrade S2 | Double globe sensor light. |  |  |

|  | Room | Task | Materials | Supplied by trade | Supplied by owner |
| --- | --- | --- | --- | --- | --- |
| AIR CON | Bedroom 1 | Install Air Conditioner Unit | Air Conditioner Unit | To be agreed |  |
|  |  | Install Condenser | Ait Conditioner Condenser |  |  |
|  | Bedroom 2 | Install Air Conditioner Unit | Air Conditioner Unit | To be agreed |  |
|  |  | Install Condenser | Ait Conditioner Condenser |  |  |

|  | Room | Task | Materials | Supplied by trade | Supplied by owner |
| --- | --- | --- | --- | --- | --- |
| PLUMBER | Bathroom 1 | Install toilet next to shower | New toilet including cistern |  |  |
|  |  | Connect toilet to sewer and water | To be supplied by plumber |  |  |
|  |  | Connect replaced shower to existing drainage/water/plumbing. | To be supplied by plumber |  |  |
|  | Bathroom 2 | Install hand basin | Hand basin |  |  |
|  |  | Connect hand basin to drainage/ water/plumbing | To be supplied by plumber |  |  |
|  |  | Connect new shower to existing drainage/ water /plumbing. | To be supplied by plumber |  |  |

|  | Room | Task | Materials | Supplied by trade | Supplied by owner |
| --- | --- | --- | --- | --- | --- |
| MAINTENANCE | Bathroom 1 | Install toilet roll holder | Toilet roll holder |  |  |
|  |  | Move hand rail | Existing hand rail to be used |  |  |
|  | Bathroom 2 | Install mirror/cabinet | Mirror/cabinet |  |  |
|  |  | Install Shower rail | Shower Rail |  |  |
|  |  | Install Towel Hook | Install Towel Hook |  |  |
|  | General | Replace deck railings | Treated pine | To be agreed |  |
|  |  | Insert flashing | flashing | To be agreed |  |
|  |  | Secure down pipes on house | Downpipe bracket, or possibly cable ties |  |  |
|  |  | Paint anti rust on all posts under house (2 coats) | Anti-rust paint |  |  |
|  |  | Seal roof end caps with water tight sealant | sealant |  |  |
|  |  | Seal any bathroom areas | sealant |  |  |
|  |  | Glue and Seal kitchen tiles | sealant |  |  |
|  |  | Rear stair rail | Treated pine | To be agreed |  |
|  |  | Paint all renovated areas of house | Paint Painting equipment |  |  |

# Carpenter

| Trade | Room | Task | Materials |
| --- | --- | --- | --- |
| Carpenter | Existing Bedroom 2 | Remove non-structural wall and door from existing lounge leading to existing Bedroom 2. Currently This wall does not reach the ceiling. |  |

| Trade | Room | Task | Materials |
| --- | --- | --- | --- |
| Carpenter | Create two new walls | Create new walls up to the roof line. Note: Walls will require wiring for power points. | Villa Board (not recessed edge) Architraves Skirting boards Cornice beading (quad) |
| Carpenter | Bedroom 1 Internal door | Install new internal door for bedroom 1 Note: existing wall has a servery window which might be able to be used for doorway. If not this space needs to be filled in. | New internal door Door handle with entrance lock (matching keys for all internal doors) Hinges Door Jam set |
| Carpenter | Bedroom 2 Internal door | Install new internal door for bedroom 2 Note: the existing hallway door could be used for this door frame. | New internal door Door handle with entrance lock (matching keys for all internal doors) Hinges |
| Carpenter | Bedroom 3 Internal door | Install new internal door for bedroom 3. Note: This door had a servery window which has been filled in. It could be used for the doorway. It has an A/C powerpoint which may need to be moved. | New internal door Door handle with entrance lock (matching keys for all internal doors) Hinges Door Jam set |

Existing servery window

Front door entrance with servery window (same as above, photo from different angle)

Photo taken inside kitchen, viewing servery window and existing hallway door.  The servery window will be doorway for bedroom 1 and the hallway door will be the doorway for bedroom 2.

Photo taken inside existing lounge room, looking through servery window into the kitchen.  This room is to be converted into bedroom1 and bedroom 2.

| Trade | Room | Task | Materials |
| --- | --- | --- | --- |
| Carpenter | Bathroom 1 | Replace shower basin with moulded shower. Note: In conjunction with plumber | Fully moulded shower with central soap holder, corner waste outlet. Note: Two sides will be fibreglass, with remaining sides being glass. Tap fittings (use existing), Leave bath taps as well for bucket filling. Shower head (use existing if part is in decent condition, otherwise new unit) |

Floor Plan

Existing shower in bathroom 1

| Trade | Room | Task | Materials |
| --- | --- | --- | --- |
| Carpenter | Bathroom 2 | Remove existing toilet door. |  |
| Carpenter | Bathroom2 | Install new moulded shower in conjunction with plumber | Fully moulded shower with central soap holder, corner waste outlet. Shower Head Mixer Tap Shower curtain Note: Three sides will be fibreglass, with remaining side open with shower rail. |
| Carpenter | Bathroom2 | Construct wall around shower | Villa Board (not depressed edge) Architraves Skirting boards Cornice beading (quad) |
| Carpenter | Bathroom2 | Install external cavity sliding door for access to bathroom 2. Note: This wall does not currently have a doorway installed. | External sliding door Door handle Pelmet |

New Bathroom layout

Position in house

| Trade | Room | Task | Materials |
| --- | --- | --- | --- |
| Carpenter | Back door entrance | Replace back door Note: back door may need to be resized due to installation of shower, unsure of size at this point. | External door Door handle with entrance lock to match internal doors Hinges New Door Jams (maybe optional) |

Rear door entrance

Rear door looking from inside bathroom 1

# Plumber

| Trade | Room | Task | Materials |
| --- | --- | --- | --- |
| Plumber | Bathroom 1 | Install toilet next to shower | New toilet including cistern. Supplied by owner |
|  |  | Connect toilet to sewer and water | To be supplied by plumber |
|  |  | Connect replaced shower to existing drainage/ water /plumbing. | To be supplied by plumber |

Bathroom layout

Position in house

| Trade | Room | Task | Materials |
| --- | --- | --- | --- |
| Plumber | Bathroom 2 | Install hand basin | Hand basin supplied by owner |
|  |  | Connect hand basin to drainage/ water/plumbing | To be supplied by plumber |
|  |  | Connect new shower to existing drainage/ water /plumbing. | To be supplied by plumber |

New Bathroom layout

Position in house

# Electrician

Summary of electrical work

| Trade | Room | Task | Materials |
| --- | --- | --- | --- |
| Electrician | Bedroom 1 | Install P1 | Double power point |
|  |  | Install A1 | Aerial Point |
|  |  | Install P2 | Double power point |
|  |  | Install A\C P1 | Single Power Point |
|  |  | Install/move L1 Note: Existing floor plan has two light fittings across the bedrooms, these will need to be replaced/shifted to have lights in each room. | Single Light switch Install light fittings in roof (where required) |
| Electrician | Bedroom 2 | Install P4 | Double power point |
|  |  | Install A2 | Aerial Point |
|  |  | Install P3 | Double power point |
|  |  | Install P5 | Double power point |
|  |  | Install A\C P2 | Single Power Point |
|  |  | Install/move L2 See note for bedroom 1 | Single Light switch Install light fittings in roof (where required) |
| Electrician | Bedroom 3 | Install P7 | Double power point |
|  |  | Install A3 | Aerial Point |
|  |  | Install P6 | Double power point |
|  |  | Install A\C P3 Note: This is an existing power supply which may need to be moved. |  |
|  |  | Install/move L1 See note for bedroom 1 | Single Light switch Install light fittings in roof (where required) |

| Trade | Room | Task | Materials |
| --- | --- | --- | --- |
| Electrician | Lounge | Install P8 | Double power point |
|  |  | Install A2 | Aerial Point |
|  |  | Install A\C P4 Note: This is an existing power supply which may need to be moved. |  |

| Trade | Room | Task | Materials |
| --- | --- | --- | --- |
| Electrician | Bathroom 2 | Install P9 | Double power point |
|  |  | Install/move L4 Note: Existing floor plan has a light fitting in this room which may need to be moved. | Single Light switch Install light fittings in roof (where required) |

| Trade | Room | Task | Materials |
| --- | --- | --- | --- |
| Electrician | External Back Door Sensor lights | Move SS1 Note: This may be required due to the bathroom 1 renovation. If light switch in a good position, no change required. | Optional (see note) Single light switch controlling external sensor light (double switch can be used if existing fitting available and this is a better option) |
|  |  | Upgrade S1 Note: existing light fitting, refer to photos below | Upgrade existing light fitting to a single globe sensor light. |

Floor Plan

Location of existing light fitting

| Trade | Room | Task | Materials |
| --- | --- | --- | --- |
| Electrician | External Front Door Sensor lights | Check SS2 Note: Do not expect any changes for this light switch | If changes needed: Single light switch controlling external sensor light (double switch can be used if existing fitting available and this is a better option) |
|  |  | Upgrade S2 Note: existing light fitting, refer to photos below | Upgrade existing light fitting to a double globe sensor light. First light pointing to front door entrance, second light pointing along deck. |

Floor Plan

Location of existing light fitting

# Air Conditioner

| Trade | Room | Task | Materials |
| --- | --- | --- | --- |
| Electrician or Air Con Specialist | Bedroom 1 | Install Air Conditioner Unit | To be supplied by tradesman or owner |
|  |  | Condenser | Position of condenser may need to run through the storage room downstairs and then out to the highset area of the house. Storage room does not have a ceiling. Note: Need positioning to consider location of outdoor setting under the house. |
| Electrician or Air Con Specialist | Bedroom 2 | Install Air Conditioner Unit | To be supplied by tradesman or owner |
|  |  | Condenser | See notes above. |

# General Maintenance

| Trade | Room | Task | Materials | Responsible Party |
| --- | --- | --- | --- | --- |
| Maintenance | Bathroom 1 | Install toilet roll holder | Toilet roll holder | Owner |
|  |  | Move hand rail |  | Owner |
|  | Bathroom 2 | Install mirror/cabinet | Mirror/cabinet | Owner |
|  |  | Install Shower rail | Shower Rail | Owner |
|  |  | Install Towel Hook | Install Towel Hook | Owner |
|  | General | Replace deck railings with treated pine timber (or alternate materials to make up to standard) | Treated pine | Owner with assistance from carpenter |
|  |  | Insert flashing above deck roof near front door | flashing | Owner with assistance from carpenter |
|  |  | Secure down pipes on house | Downpipe bracket, or possibly cable ties | Owner |
|  |  | Unblock and clean down pipes at front of house |  | Owner |
|  |  | Check down pipes at base where water might run onto the slab - divert away (digging a trenches and placing a pit may be required) |  | Owner |
|  |  | Paint anti rust on all posts under house (2 coats) | Anti-rust paint | Owner |
|  |  | Seal roof end caps with water tight sealant | sealant | Owner |
|  |  | Seal any bathroom areas with water tight sealant | sealant | Owner |
|  |  | Glue and Seal kitchen tiles that might be loose due to movement | sealant | Owner |
|  |  | Rear stair rail need to be repaired or replaced as it's not up to code | Treated pine | Owner with assistance from carpenter |
|  | Paint | Paint all renovated areas of house including - Bedroom 1 - Bedroom 2 - Bedroom 3 - Bathroom 2 | Paint | Owner |