SUMMARY

| Trade | Task Summary | Notes |
| --- | --- | --- |
| Ian Wassell House Removals | Stumping scheduled for completion by 30th April 2014 Need copy of: Building Contract, BSA Licences, Public Liability Insurance & Indemnity Certificate of Currency | Entire Building Re-Stumped |
| Demolition & Asbestos Removal | Removal of Internal Lining: (Inc. all asbestos), 2 kitchens, internal doors, fireplace, laundry / bathroom fixtures as per details outlined in section 1. Items to be Kept for Reuse: Selected fixtures, fittings & appliances to be kept for reuse as per details outlined in section 2. (Separate Demolition Scope Of Works including photos and demolition plans provided) | Upon engagement provide a copy of: BSA & Asbestos Licences, Public Liability Insurance & Indemnity Certificate of Currency |
| Builder | Provide support to remaining walls following asbestos / lining removal, remove any remaining walls as per plans and build new walls, install internal & external doors, assemble bathrooms, co-ordinate all trades, kitchen & appliance installation, floor covering, install weathertex external cladding, verandah handrail, new ramp & steps as per details outlined below in section 3 and in according with plans provided & BCA for a class 1b building. | Upon engagement provide necessary BSA Licences, Public Liability Insurance, Indemnity Certificate of Currency and Contract Works Insurance cover for the entire building during renovation Quote to include QLeave if required = (0.525% of Total Cost of Works) |
| Plumber | Remove and install new water pipes, sewer & waste pipes, hot water systems, water meter (if required), stormwater to street, section of guttering & 1 downpipe. Install bathroom fixtures as per locations outlined on “Add-A-Bathroom” plan below. (Refer to FP1200 & FP1400 plans) |  |
| Electrician | Rewire entire building on 2 separate circuits (as it is currently), oversee upgrade of power (if required), install all electrical fittings as outlined below in section 3 and in according electrical plans & BCA for a class 1b building. |  |

| Trade | Subject | Task | Notes |
| --- | --- | --- | --- |
| Asbestos Removal & Demolishing Company | All Internal walls of Building | Remove & Dispose of: (Photos & Plans Provided) - All internal lining to all internal walls, including timber cladding to kitchen ceiling / walls & bathrooms, villaboard lining to bedroom walls & timber cladding to Bed 5 & Bed 5’s Bathroom - Lining to all ceilings - Partition-like (non supporting) walls - Two kitchens including overhead cupboards / shelving - Hot Water System in kitchen - Concrete twin laundry tub - Shelving from pantry room - Fireplace box / mantle / tiled hearth - All internal doors & highlights above doors - Shower bases x 2, Bath, brown timber vanity, shelf unit in bathroom - Toilets x 2 (pans only to be kept) Items to be kept: (Photos Provided) - All vertical posts either side of every doorway - All corner posts - All roof support posts – as per plans - Elba oven – currently in managers kitchen - White Vanity – currently in managers bathroom area - 1 built in kitchen sink & mixer tap - 2 toilet pans - 1 Panasonic Split System air conditioner with remote – currently in managers living area - 2 Illuminated exit signs – currently mounted above doorways at front & western side - 2 oyster lights – currently in proposed bed 9 & bed 9’s bathroom area) - 2 hardwired smoke alarms – currently in both living areas | Upon engagement provide copy of BSA & Asbestos Licences, Public Liability Insurance & Indemnity Insurance Certificate of Currency |

| Trade | Subject | Task | Notes |
| --- | --- | --- | --- |
| Builder | Carpentry | - Remove any remaining walls, following asbestos removal, as per plans Removal of Existing Walls: Marked on Plan in BLUE; Build New Walls: Marked on Plan in RED. - Build new 90mm stud walls throughout including necessary bracing as per plans - Provide support beams as required across Dining / Living & Bed 12 - Maximum ceiling height to be 3mtrs | What cost saving could occur by reducing to 2.7mtr ceilings? |
|  | Internal Lining | - Internal Bedroom Walls to be insulated with R2.5 Insulation Batts - RW40 & RW50 to bathroom walls. - Internal Bedroom Walls to be Lined with 10mm Plasterboard - Internal Ceilings to be insulated with R2.5 Insulation Batts - Internal Ceilings to be lined with 10mm Ceiling Plasterboard - Skirting Boards = Bullnose minimum 67 x 12mm - Architraves = Bullnose minimum 67 x 12mm - Cornice = 90mm Cove Cornice | RW rating of bathroom pods TBC |
|  | Kitchens | - Co-ordinate with Cabinetmaker supply of 2 new laminated kitchens - Supply & Install 1 new kitchen sink (1.75) & Install existing kitchen sink & existing mixer to Manager’s kitchen - Supply & Install 1 new oven & install only existing Elba oven to Manager’s Kitchen - Supply & Install: 2 x Dishwashers, 2 x cooktops, 2 x rangehoods | Separate itemised cost of Builder’s Range to be provided to client for selection |
|  | Bathrooms | - Assemble and install modular bathroom units - Bathroom Fixtures to be installed as per measurements outlined on FP1200 & FP1400 Add-A-Bathroom plans below - Bathroom Doors – 11 x Cavity Sliding Doors to fit 705mm doorway opening with lockset - Build 1388 W x 95mm H ramp for disabled bathroom | Wall to be removed & rebuilt to install bathrooms to bed 5 & 6? & Bed 1? Client to mark up plan with towel rail & robe hook locations No door on Bed 10 bathroom Clayton Wood to confirm details |
| Builder | Laundry | - Provide cost to tile & line laundry & WC - Supply & Install: 2 x inbuilt 45L S/Steel laundry trough with 1 shared mixer tap - Supply & Install: 2 x sets washing machine tap - Co-ordinate with Cabinetmaker new benchtop & small overhead cupboard as per plan | As cost comparison vs purchasing modular units |
|  | Bar & Games | - Co-ordinate with Cabinetmaker new bar benchtop - Supply & install small sink & mixer |  |
|  | Doors | - Internal Bedroom Doors – 5 x Flush Standard with key locksets - Internal Laundry / WC Doors – 2 x Flush Standard (lock to WC) - External Bedroom / Entrance Doors – 15 x 820mm wide & 1 x 620mm with level handle keylock sets - External Security Screen Doors with Door Closer – 15 x 820mm opening & 1 x 620mm opening - What would extra cost be to have 1 master key to all locks? | CLIENT TO CONFIRM STYLE CLIENT TO CONFIRM STYLE |
|  | Painting | - Painting – Internal house ceilings & walls (Excluding all bathrooms) - Laundry & WC TBC – may use modular units - Verandah ceilings - Stain Merbau Decking |  |
|  | Flooring | - Raise floor of lean-to section of Bedroom 12 & Main Dining at rear to same height as internal floor with 18mm compressed yellow tongue compressed sheet flooring - Floor Coverings - Commercial grade timber look-a-like vinyl to all rooms except bathrooms / (laundry & WC – TBC) | TBC if modular bathrooms units used for laundry & wc NEED TO DETERMINE HEIGHT OF THESE ROOMS |
|  | Robes & Cupboard | - Supply & install 5 x in-built sliding door robes, with shelves & hanging rail to bedrooms 1, 7, 10, 11 & 12 - Supply & install inbuilt cupboard to hallway between kitchen & bed 10 | Provide separate cost |
|  | Fire Extinguishers | - Provide & Install Fire Extinguishers within 4mtrs of an exit to each kitchen & bar area: 3 x 4.5kg dry powder type; 3 x 9ltr water type & 3 x fire blankets |  |
| Builder | Windows | - Remove 3 existing aluminium windows from western verandah and install in Bedroom 4, Games & Bedroom 5 (Sizes 2210W x 1130H; 2995W x 1130H; 2975W x 1130H) - Supply & install new 1800W x 900H window to Main Kitchen, allowing for small splashback above sink - Supply & install new 1500W x 900H window to Manager’s Kitchen, allowing for small splashback above sink - Supply & install new 1200W x 1200H window to Manager’s Bedroom | Builder to check window measurements Builder to check new window measurements CLIENT TO CONFIRM IF REQUIRED |
|  | Exterior | - Remove and enclose old windows that are not required with weathertex or hardi plank? - Verandah Ceilings to be lined with 10mm Plasterboard (in line with rafters) - Verandah exterior walls to be removed to floor level and single timber handrail installed - Clad internal verandah walls with Weathertex cladding, to match existing weatherboards - Eastern Verandah – Replace decking with Merbau Reeded 90 x 19mm Stained - Western Verandah - Replace decking with Merbau Reeded 90 x 19mm Stained - External Steps – Provide 2 new hardwood tread steps (with side stringers) to front verandah & replace 2 existing weather-damaged set of steps outside main kitchen at rear | Kylie to specify Separate cost for this please CLIENT TO CONFIRM STYLE Eastern decking needs replacing Provide separate price for Western decking (not essential to replace at this stage) |
|  | Rubbish Removal | - Removal all builders / trade rubbish |  |

Additional Costs

QLeave = 0.525% of Total Cost of Works

BSA Insurance

Contract Work Insurance

| Trade | Task | Notes |  |
| --- | --- | --- | --- |
| Plumber | Replace Earthenware Waste Pipes with new PVC |  | As Per Hydraulic Services Sanitary Plan 1812131-H-100-PR-A |
|  | Replace Existing Water Pipes with new |  | As Per Hydraulic Services Water Plan 1812131-D-200-PR-A |
|  | Install 2 x 613/315 Rheem (45amps) Hot Water Cylinders with Equa-Flow Manifold 3 x 3.6KW Elements and Install Rheem Hot Water Pump Set 890666 |  | As Per Hydraulic Services Water Plan 1812131-D-200-PR-A |
|  | New Water Meter Required? |  | Obtain costing from council |
|  | Replace section of damaged guttering on Eastern Side of Building with existing style (Lysaght?) Move downpipe outlet on eastern side to allow for new proposed disabled access ramp |  | http://www.lysaght.com/product/lysaght-half-round-gutter-and-br-lysaght-flat-back-gutter |
|  | Stormwater - Run existing downpipes to street |  | Stormwater plan not required as roof area remains unchanged |

| Trade | Task | Notes |
| --- | --- | --- |
| Electrician | Building currently wired on 2 separate circuits – to remain this way. |  |
|  | Does power need to be upgraded? If so, cost involved |  |
|  | Rewire entire building on 2 separate circuits as per electrical plan. Refer below for detailed list of fittings |  |
|  | Smoke Alarms, Emergency Lighting & Illuminated Exit Signs must be linked to function when a smoke alarm is activated |  |
|  | TV Aerial – will the 1 existing TV Aerial be sufficient for entire building? | Refer to photo below |
|  | Internet Wifi ? Advice on cost to install and how this would be managed on room by room basis? |  |
|  | Foxtel ? | Any extra wiring required for foxtel? Supply cost? |
|  | Air Conditioning – Quote to be supplied for most cost effective system | TBC - Ducted vs Split vs Wall Mounted |

| Electrical Summary |  |  |  |
| --- | --- | --- | --- |
| Quantity | Item | Supplied By Builder | Supplied By Owner |
| 47 | Low Voltage Down Lights | 47 |  |
| 14 | Light / Fan Units – Refer to photo below for style or similar (Bunnings stock) | 14 |  |
| 66 | Double Power Points | 66 |  |
| 21 | Single Power Points | 21 |  |
| 15 | Ceiling Fans with Lights - Refer to photo below for style or similar (Bunnings stock) | 15 |  |
| 15 | TV Points (mounted 1800mm high in bedrooms) – Existing TV aerial be enough? | 15 |  |
| 15 | Air Conditioners – Quotes to be supplied for Ducted vs Split System | 14 | 1 Existing Panasonic to be reused |
| 12 | External Wall Lights - Refer to photo below for style or similar (Bunnings stock) | 12 |  |
| 2 | Phone Points (separate lines) | 2 |  |
| 16 | Smoke Alarms - Smoke Alarms & Emergency Lighting to be linked together | 14 | 2 Existing to be reused |
| 3 | Emergency Lights | 3 |  |
| 5 | Illuminated Exit Signs | 3 | 2 Existing to be reused |
| 1 | Illuminated Exit Sign with Arrow Pointing towards “T” of exit | 1 |  |
| 232 | TOTAL SUMMARY | 227 | 5 |

2 separate circuits to remain	Existing TV aerial		External Wall Light			Ceiling Fan with Light			Light / Fan Unit

| Trade | Proposed Room | Task | Notes |
| --- | --- | --- | --- |
| Electrician | Managers Bed 1 Bedroom 7 Bedroom 8 Bedroom 10 Bedroom 11 | QUANTITY PER BEDROOM - 3 x Low Voltage Down Lights (2 x Bedroom, 1 x Outside Ensuite) - 1 x Light / Fan in Ensuite - 4 x Double Power Points - 1 x Single Power Point (Ensuite) - 1 x TV Point (mounted 1800mm high with 1 x DPP alongside) - 1 x Ceiling Fan with Light - 1 x Air Conditioner - 1 x Smoke Alarm (linked to main system) |  |
|  | Bedroom 2 Bedroom 4 Bedroom 5 Bedroom 6 Bedroom 9 | QUANTITY PER BEDROOM - 2 x Low Voltage Down Lights - 1 x Light / Fan in Ensuite - 4 x Double Power Points - 1 x Single Power Point (Ensuite) - 1 x TV Point (mounted 1800mm high with 1 x DPP alongside) - 1 x Ceiling Fan with Light - 1 x Air Conditioner - 1 x Smoke Alarm (linked to main system) |  |
|  | Bedroom 3 | - 2 x Low Voltage Down Lights - 1 x Light / Fan in Ensuite - 3 x Double Power Points - 1 x Single Power Point (Ensuite) - 1 x TV Point (mounted 1800mm high with 1 x DPP alongside) - 1 x Ceiling Fan with Light - 1 x Air Conditioner - 1 x Smoke Alarm (linked to main system) |  |
|  | Bedroom 12 | - 3 x Low Voltage Down Lights - 1 x Light / Fan in Ensuite - 5 x Double Power Points - 1 x Single Power Point (Ensuite) - 1 x TV Point (mounted 1800mm high with 1 x DPP alongside) - 1 x Ceiling Fan with Light - 1 x Air Conditioner - 1 x Smoke Alarm (linked to main system) |  |
| Electrician cont. | Managers Kitchen & Amenities | - 3 x Low Voltage Down Lights (2 way switch) - 2 x Double Power Points (Washing Machine & Bench) - 4 x Single PP (Dishwasher, Microwave, Rangehood, Fridge) oven? - 1 x External Wall Light outside Kitchen - 1 x Emergency Lighting |  |
|  | Managers Living & Dining Room | - 3 x Low Voltage Down Lights (2 way switch) - 3 x Double Power Points - 1 x TV Point (DPP next to) - 1 x Ceiling Fan with Light - 1 x Air Conditioner - 1 x Phone Point (Separate Line to Main Dining Phone) - 1 x Smoke Alarm (linked to main system) - 1 x Illuminated Exit Sign | 3 or 2? |
|  | Bar & Games Room | - 2 x Low Voltage Down Lights (2 way switch) - 3 x Double Power Points - 1 x Single Power Point (Fridge) - 1 x TV Point (DPP next to) - 1 x Ceiling Fan with Light - 1 x Air Conditioner - 1 x Smoke Alarm (linked to main system & no more than 5100mm apart from smoke alarms in dining / living) - 3 x Illuminated Exit Signs (1 with arrow) |  |
|  | Dining / Living / Hallway to Eastern Verandah | - 5 x Low Voltage Down Lights (4 on 2 way switch) - 4 x Double Power Points - 1 x TV Point (DPP next to) - 1 x Ceiling Fan with Light - 1 x Air Conditioner - 1 x Phone Point (Separate Line to Manager’s Phone) - 2 x Smoke Alarms (linked to main system & no more than 5100mm apart) - 2 x Illuminated Exit Signs - 2 x Emergency Lighting |  |
|  | Kitchen & Hallway | - 4 x Low Voltage Down Lights (3 on 2 way switch) - 3 x Double Power Points (Benches) - 4 x Single PP (Dishwasher, Microwave, Rangehood, Fridge) oven? - 1 x External Wall Light outside kitchen | 2 or 3? |
| Electrician cont. | Laundry & WC | - 2 x Light / Fan Unit - 3 x Double Power Points |  |
|  | Western Verandah | - 4 x External Wall Lights (2 way switch) |  |
|  | Front & Eastern Verandah | - 4 x External Wall Lights to Verandah - 1 x External Wall Light by Games Room Front Door - 1 x External Wall Light at base of ramp near Bed 10 |  |

| Trade | Proposed Room | Task | Notes |
| --- | --- | --- | --- |
| Builder | DETAILED LIST - Removal of Existing Walls: Marked on Plan in BLUE; Build New Walls: Marked on Plan in RED |  |  |
|  | New Managers Bed 1 & Ensuite | - Remove 2 walls from old shower rooms - Remove section of wall to create doorway opening to ensuite - Remove window on northern wall of ensuite and enclose - Build new wall with cavity sliding door to ensuite - Remove existing toilet wall to assemble bathroom module and rebuild? - Build new wall, including doorway between bedroom & kitchen - Build new wall between bedroom and verandah including new external door |  |
|  | Western Verandah | - Remove western verandah exterior walls (3 windows to be reused) - Remove 2 sections of walls dividing enclosed verandah (adjacent Bed 3) - Create doorway between verandah and hallway to Bar/Games Rm, including new external door - Build new steps to verandah adjacent Bedroom4 | 3 Aluminium windows from western verandah to be reused and installed in Bed 4, Bar & Games or Bed 5. (Existing window sizes |
|  | Bedroom 2 | - Remove section of wall to create doorway to ensuite - Enclose existing doorway to become northern wall of ensuite - Build entire back ensuite wall |  |
|  | Bedroom 3 | - Remove section of wall to create doorway to ensuite - Enclose existing doorway to verandah to become southern wall of ensuite - Build entire back ensuite wall |  |
|  | Bedroom 4 | - Remove section of wall to create doorway to verandah including new external door - Remove angled wall and build new corner walls - Build new walls to create ensuite including cavity sliding door |  |
|  | Managers Living & Dining Room | - Remove section of wall to create doorway to verandah including new external doors - Remove wall in centre of Managers Living & Dining Rm - Remove section of walls to open up doorway between Managers Kitchen & Dining (creating open plan) |  |
| Builder | Bar & Games Room | - Remove old front door surround and sidelights, or is this load bearing? - Enclose double doorway between Games & Bathroom |  |
|  | Bedroom 11 | - Build 2 entire walls to bedroom - Enclose 2 doorways in existing passage to form ensuite - Change normal door to cavity sliding door to ensuite |  |
|  | Bedroom 12 | - Remove 2 internal walls within Bed 12 - Build 2 new walls to form ensuite with cavity sliding door |  |
|  | Laundry / WC | - Remove 2 internal walls within existing laundry & pantry room area - Build WC wall and doorway - Build Laundry doorway |  |
|  | Main Dining / Living Room | - Remove 6 sections of walls within Main Dining / Living Area to create open space |  |
|  | Bedroom 5 |  |  |
|  | Bedroom 6 |  |  |
|  | Access Hallway | - Create doorway from Hallway to Eastern Verandah between Bed 6 & Bed 7, including new external door - Remove section of wall to create hallway - Enclose doorway to create southern wall to Bedroom 7’s ensuite - Build new wall between hallway and Bedroom 7 |  |
|  | Bedroom 7 | - Enclose Eastern doorway to verandah - Remove section of wall to create doorway to ensuite, including cavity sliding door - Build new wall dividing 2 bathrooms - Enclose doorway between bed 7 & kitchen to form northern ensuite wall |  |
|  | Bedroom 8 | - Remove 2 small sections of walls either side of existing doorway - Build new angled walls between Bedroom 7 & 8 - Build new doorway to shared bathroom |  |
|  | Bedroom 9 | - Build wall between shared bathroom & Bedroom 9 including cavity sliding door or normal door - Build entire angled wall between Bedroom 8 & Bedroom 9 |  |
| Builder | Eastern Verandah | - Remove all semi enclosed external verandah walls to floor level - Build new front to verandah steps adjacent Bedroom 5 - Building new disabled persons access ramp adjacent Bedroom 10 |  |
|  | Rear Hallway | - Build new walls and doorway to create hallway between Bedroom 10 & Kitchen - Build new broom cupboard |  |
|  | Bedroom 10 – Disabled Persons Facilities | - Remove 2 walls from old bathroom - Remove doorframe and small wall from old WC - Remove and enclose north eastern window in ensuite - Remove section of wall to create doorway opening to ensuite - Build new wall with cavity sliding door to ensuite - Build external walls to verandah including external doors |  |

Summary of Fixtures and Fittings

|  | Room | QTY | Materials | Notes | Supplied by trade | Supplied by owner |
| --- | --- | --- | --- | --- | --- | --- |
| FIXTURES & FITTINGS | Bathrooms |  | Refer to separate bathroom accessories list & photos below | Builders to provide separate cost as comparison to “Add-A-Bathroom” supplying with modular bathroom units | ? | ? |
|  | Kitchen / Laundry | 2 | Kitchen Sinks (1 existing to be reused) |  | 1 | 1 |
|  |  | 4 | Kitchen / Bar / Laundry Mixer Taps (1 existing reuse) |  | 3 | 1 |
|  |  | 1 | Bar Sink |  | 1 |  |
|  |  | 2 | Laundry Sinks |  | 2 |  |
|  |  | 2 | Oven (1 existing reused) |  | 1 | 1 |
|  |  | 2 | Stove |  | 2 |  |
|  |  | 2 | Rangehood |  | 2 |  |
|  |  | 2 | Dishwashers |  | 2 |  |
|  | Bedrooms | 15 | Ceiling Fans (12 x Bedrooms, 3 x Living Areas) |  | 15 |  |
|  |  |  | Free Standing Wardrobes – |  |  |  |

Kitchen / Bar / Laundry Sink Mixer

BATHROOM ACCESSORIES SELECTED – for 12 Bathrooms & 1 WC

- 11 x Toilets – Complete Ceramic toilet suite, Close Coupled, S Trap & Back to Wall (Bunnings Mondella or similar)

- 2 x Toilet Cisterns and toilet seats only (2 Existing Toilet pans to be reused)

- 12 x 600mm Towel Rail – Caroma Cosmo Metal Single Towel Rail 600mm or similar

- 1 x Hand Towel Rail – Caroma Cosmo Hand Towel Rail 200mm or similar

- 13 x Toilet Roll Holder – Caroma Cosmo Metal or similar

- 12 x Robe Hook – Caroma Cosmo Metal or similar

- 12 x Soap Dish – Metal Shelf with Soap Dish – or similar (Refer to shower photo below)

- 12 x Single Lever mixer tap ware for shower and Shower Arm & Rose on Adjustable Rod – or similar (Refer to shower photo below)

- 9 x 1320 wide Shower Screens with swinging door (FP1400)

- 2 x 1120 wide Shower Screens with swinging door (FP1200)

- 12 x Mirror – 750mm x 900mm wide Flat Edge Mirror

- 10 x Vanity – 600mm Rectangular Basin Vanity Unit ceramic top on feet – or similar (Refer to photo) (1 existing vanity & it’s tap spout to be reused)

- 1 x Basin Tap Handles for existing vanity – Raymor ETON or similar (refer to photo below)

- 12 x Single Lever mixer tap for basin (per Bunning Style below or similar)

- 13 x 40mm plug and waste for basin

- Mini Stops for basin & toilet

- 12 x 80 x 50 floor waste for shower

- 14 x Circular Light / Fan unit – Bunnings stock (Refer to photo below)

- 2 x Wall Mounted Basin for Disabled & WC (must had flat section at back to place soap bottle – similar to photo below)

- 2 x Disabled toilet / shower metal grab rails

Close Coupled Toilet	     Fan / Light Unit	      Shower Accessories	     Shower Screen or similar

Caroma Cosmo Metal Accessories

Ceramic Wall  Basin 	    Ceramic Top Vanity		Basin Mixer 	New Basin Handles for Existing Vanity